## Guide & Navigation
Equipment Inspection Log Template
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Type | Color Code | Purpose
Primary | #2B4C7E | Title & Main Headers
Accent | #5B84B1 | Subcategories / Subheadings
Table Header | #EBF3FB | Headers / Item Names

## Dashboard
Dashboard
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Month | Planned Tasks | Completed Tasks | Anomalies Count | Completion Rate | Repair Cost | Parts Replacement Cost | Total Cost
Total
Action Items Summary
Type | Count / Amount | Referenced Sheet | Verification Points

## Settings
Settings
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Equipment Status | Verdict | Severity | Equipment Type | Assignee | Interval | Cycle Days | Plan Status | Repair Status | Part Status | Action Required | Recording Required
Operating | Good | Urgent | Distribution Board | Alex Morgan | Daily | 1 | Not Started | Not Started | Normal | Yes | Required
Stopped | No | High | Air Conditioner | Jordan Lee | Weekly | 7 | Planned | Investigating | Within 30 Days | No | Optional
Under Repair | Requires Check | Medium | Compressor | Taylor Reed | Monthly | 30 | In Progress | Waiting for Parts | Overdue

## Equipment Register
Equipment Register
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Equipment ID | Equipment Name | Equipment Type | Model | Serial No. | Installation Date | Location | Status | Manager | Severity | Interval | Next Inspection Date | Manufacturer | Purchase Price | Remarks
EQ-001 | 1st Distribution Board | Distribution Board | PD-500A | SN-PD-1001 | 2021/08/30 | 1st Factory Electrical Room | Operating | Alex Morgan | High | Monthly |  | Toto Electric | ¥1,450,000 | Main Panel
EQ-002 | HVAC Unit AHU-1 | Air Conditioner | AHU-120 | SN-AHU-2031 | 2022/11/03 | 1st Factory Rooftop | Operating | Jordan Lee | Medium | Monthly |  | Hokushin HVAC | ¥980,000 | Check Filter Stock
EQ-003 | Compressor C-1 | Compressor | CP-75KW | SN-CP-7788 | 2020/09/14 | Utility Room | Under Repair | Taylor Reed | Urgent | Weekly |  | Aoba Machinery | ¥3,200,000 | Enhance oil temperature monitoring

## Inspection Item Library
Inspection Item Library
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Item ID | Equipment Type | Inspection Category | Inspection Item | Inspection Method | Standards / Thresholds | Unit | Recommended Cycle | Standard Value (Lower) | Standard Value (Upper) | Severity | Recording Required | Remarks
ITM-001 | Distribution Board | Appearance | Panel odor & burn marks | Visual Check | No abnormal odor or burn marks |  | Monthly |  |  | High | Required | Check when opening/closing door
ITM-002 | Distribution Board | Electrical | Terminal Temperature | Measurement | 60°C or less | ℃ | Monthly | 0.0 | 60.0 | High | Required | Thermography Recommended
ITM-003 | Air Conditioner | Cleaning | Filter clogged | Visual Check | No clogging |  | Monthly |  |  | Medium | Required | Replace if differential pressure is high

## Inspection Plan
Inspection Plan
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Plan ID | Equipment ID | Equipment Name (Auto) | Planned Date | Interval | Inspector | Severity | Status | Overdue Status (Auto) | Planned Month (Auto) | Remarks
PLN-001 | EQ-001 |  | 2026/06/12 |  | Alex Morgan |  | Completed |  |  | Monthly Inspection
PLN-002 | EQ-002 |  | 2026/06/17 |  | Jordan Lee |  | Planned |  |  | Check filter
PLN-003 | EQ-003 |  | 2026/06/14 |  | Taylor Reed |  | In Progress |  |  | Oil Temp & Pressure Focus

## Inspection Log
Inspection Log
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Record ID | Inspection Date | Equipment ID | Equipment Name (Auto) | Inspection Item ID | Inspection Item (Auto) | Measured Value | Verdict | Status | Operator | Anomaly Details / Remarks | Corrective Action Required (Auto) | Related Repair ID | Photo / Attachment | Remarks
LOG-001 | 2026/06/12 | EQ-001 |  | ITM-001 |  |  | Good | Completed | Alex Morgan | No abnormal odor. Panel inside clean.
LOG-002 | 2026/06/12 | EQ-001 |  | ITM-002 |  | 48.0 | Good | Completed | Alex Morgan | Terminal temperature within standard.
LOG-003 | 2026/06/07 | EQ-002 |  | ITM-003 |  |  | Requires Check | Completed | Jordan Lee | Filter differential pressure slightly high. |  |  |  | Next Review

## Repair History
Repair History
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Repair ID | Identified Date | Equipment ID | Equipment Name (Auto) | Related Record ID | Anomaly Details | Priority | Action Taken | Repair Cost | Status | Planned Completion Date | Completion Date | Assigned To | Downtime (h) | Additional Actions
REP-001 | 2026/06/14 | EQ-003 |  | LOG-004 | Oil smear & discharge pressure exceeded limit | Urgent | Check seal, adjust pressure control valve | ¥85,000 | Under Repair | 2026/06/17 |  | Taylor Reed | 1.5 | Re-inspect after completion
REP-002 | 2026/05/26 | EQ-002 |  | LOG-003 | Filter differential pressure high | Medium | Clean filter, recheck differential pressure | ¥12,000 | Completed | 2026/05/31 | 2026/05/30 | Jordan Lee | 0.5 | Next Replacement Review
REP-003 | 2026/05/01 | EQ-005 |  |  | Lower belt tension | High | Adjust tension, clean rollers | ¥28,000 | Completed | 2026/05/06 | 2026/05/05 | Ito | 0.8

## Parts Replacement
Parts Replacement
A free Excel template for organizing equipment inspections, maintenance plans, repair history, and parts replacement in one workbook.
Replacement ID | Equipment ID | Equipment Name (Auto) | Part Name | Part Code | Replacement Date | Replacement Cycle (Days) | Next Replacement Date (Auto) | Days Remaining (Auto) | Status | Quantity | Unit Price | Amount (Auto) | Assignee | Remarks
PRT-001 | EQ-002 |  | Medium Performance Filter | FLT-AHU-120 | 2026/04/26 | 90 |  |  | Normal | 2 | ¥8,500 |  | Jordan Lee | Next Inventory Check
PRT-002 | EQ-003 |  | Compressor Oil | OIL-CP-75 | 2025/12/22 | 180 |  |  | Within 30 Days | 1 | ¥18,000 |  | Taylor Reed | Preparing Replacement
PRT-003 | EQ-005 |  | Conveyor Belt | BELT-CV-300 | 2025/06/10 | 365 |  |  | Overdue | 1 | ¥64,000 |  | Ito | Replacement Plan Needed