## उपयोग
Environment Management Environmental Inspection Log Template
Excel template for environment management environmental inspection log template.
STEP 1 | Schedule Planning
guide_001 | Determine inspection frequency, assignees, and target areas, then enter planned inspections and assignees in the checklist. Aligning operational conditions prevents omissions.
STEP 2 | Data Collection
guide_003 | Conduct onsite inspections and select the evaluation (Good / NG / Pending). If "NG", assign a Finding ID and register the details in the Findings sheet.

## डैशबोर्ड
डैशबोर्ड
Excel template for environment management environmental inspection log template.
Area | उच्च | मध्यम | कम | कुल
Wastewater Treatment Facility
Waste Storage Area
Chemical Storage

## Inspection Checklist
Inspection Checklist
Excel template for environment management environmental inspection log template.
Inspection ID | Inspection Date | Inspection Area | Inspection Item | Inspector Name | Judgment | Finding ID | नोट्स
INT-001 | 2026/06/03 | Wastewater Treatment Facility | Check pH meter calibration label and records | Alex Morgan | अच्छा |  | Confirmed consistency between record and actual label
INT-002 | 2026/06/03 | Waste Storage Area | Check sorting display and container lid condition | Jordan Lee | NG | FND-001 | Damage found on waste container lid
INT-003 | 2026/06/04 | Chemical Storage | Check SDS posting and spill tray | Taylor Reed | NG | FND-002 | SDS posted is outdated

## Findings Register
Findings Register
Excel template for environment management environmental inspection log template.
Finding ID | Inspection ID | Occurrence Date | Discovered Area | Finding Details (Issue) | गंभीरता | स्थिति | Initial Response
FND-001 | INT-002 | 2026/06/03 | Waste Storage Area | The waste container lid is damaged, reducing airtightness. | उच्च | In Progress | Replaced with emergency lid and installed scattering prevention sheet.
FND-002 | INT-003 | 2026/06/04 | Chemical Storage | The posted SDS is outdated and does not match the latest handling procedures. | मध्यम | शुरू नहीं | Posted a "DO NOT USE" sign on the outdated SDS.
FND-003 | INT-006 | 2026/06/06 | Wastewater Treatment Facility | The sludge storage volume is approaching the voluntary limit. | मध्यम | In Progress | Requested temporary collection from the waste disposal company.

## Corrective Action Record
Corrective Action Record
Excel template for environment management environmental inspection log template.
Corrective Action ID | Finding ID | Corrective Action Plan | Corrective Action Assignee | Corrective Deadline | Completion Date | Verifier/Approver | स्थिति | Remarks (Verification Results, etc.)
ACT-001 | FND-001 | Permanently replace waste container lid and change storage container inspection cycle to monthly. | Alex Morgan | 2026/06/20 |  | Casey Brooks | Open | Replacement parts ordered.
ACT-002 | FND-002 | Obtain and post the latest SDS and update the chemical substance management ledger. | Taylor Reed | 2026/06/18 |  | Jordan Lee | Open | Requesting the latest version from the supplier.
ACT-003 | FND-003 | Temporarily remove sludge and visualize the storage warning line. | Jordan Lee | 2026/06/17 | 2026/06/16 | Casey Brooks | स्थिति | Removal slip and storage record verified.