## Guía
Comprehensive Facility Inspection and Condition Assessment Template
Excel template for comprehensive facility inspection and status assessment.
Type | Color | Description
Manual Input Cell |  | Cells where the user manually enters text or numbers.
Selection Cell (Dropdown) |  | Cells select from a dropdown list.
Calculation Cell (Formula) |  | Cells where formulas automatically calculate the value.

## Panel
Panel
Excel template for comprehensive facility inspection and status assessment.
Area | Normal | Warning | Urgent Action | Stopped | Total
Corrective Action Status
Status | Count
Open

## Registro de Inspecciones
Registro de Inspecciones
Excel template for comprehensive facility inspection and status assessment.
Item ID | Area (Building/Floor/Room) | Asset (Equipment/Fixtures) | Inspection Item | Frequency (Daily/Monthly/Yearly) | Remarks
INS-001 | Entrance | Automatic Door | Check opening/closing motion, abnormal noise, and safety sensor. | Daily | Affects primary pedestrian pathways.
INS-002 | Reception | Emergency Lighting | Verify lighting and check battery indicator. | Monthly | Ensures safety during power outages.
INS-003 | Meeting Room A | Air Conditioner | Verify running sound, temperature, and filter cleanliness. | Monthly | Affects indoor comfort.

## Evaluación de Estado
Evaluación de Estado
Excel template for comprehensive facility inspection and status assessment.
Assessment ID | Date Inspected | Item ID | Area | Asset Name | Inspection Item | Status | Onsite Notes (Fault description) | Inspector Name
ASMT-001 | 2026-06-13 | INS-001 |  |  |  | Normal | No issues. | Jordan Lee
ASMT-002 | 2026-06-14 | INS-002 |  |  |  | Warning | Battery indicator low. Replace during next cycle. | Casey Brooks
ASMT-003 | 2026-06-15 | INS-003 |  |  |  | Urgent Action | Heavily soiled filter. Cooling efficiency reduced. | Jordan Lee

## Defectos y Deficiencias
Defectos y Deficiencias
Excel template for comprehensive facility inspection and status assessment.
Correction Task ID | Date Identified | Source Assessment ID | Target Equipment/Fixture | Fault Details | Impact (High/Med/Low) | Assigned Technician | Due Date | Action Status
ISS-001 |  | ASMT-002 |  |  | Medium | Taylor Reed | 2026-06-29 | In Progress
ISS-002 |  | ASMT-003 |  |  | Medium | Taylor Reed | 2026-06-22 | Open
ISS-003 |  | ASMT-004 |  |  | High | Alex Morgan | 2026-06-14 | In Progress

## Historial de Recomprobación
Historial de Recomprobación
Excel template for comprehensive facility inspection and status assessment.
Recheck ID | Correction Task ID | Recheck Date | Result (Pass/Fail) | Verified By | Final Completion Date | Audit Notes
HIS-001 | ISS-001 | 2026-06-25 | Pass | Alex Morgan | 2026-06-25 | Replacement complete, operation verified.

## Maestro de Activos
Maestro de Activos
Excel template for comprehensive facility inspection and status assessment.
Building Name | Floor | Room / Location | Asset Name | Management Class
Main Building | 1F | Entrance | Automatic Door | Equipment
Main Building | 1F | Reception | Emergency Lighting | Safety Equipment
Main Building | 2F | Meeting Room A | Air Conditioner | Equipment

## Maestro de Personal
Maestro de Personal
Excel template for comprehensive facility inspection and status assessment.
Employee ID | Name | Department | Role (Inspector/Corrective Action/Manager)
S001 | Alex Morgan | Facility Management Dept | Manager
S002 | Jordan Lee | Facility Management Dept | Inspector
S003 | Taylor Reed | Maintenance Dept | Corrective Action Person

## Referencia de Fórmulas
Referencia de Fórmulas
Excel template for comprehensive facility inspection and status assessment.
Used In | Formula | Purpose / Meaning | Formula Example
Dashboard | COUNTA | Count the number of assets registered in the Asset Master. | '=COUNTA('Asset Master'!$E$5:$E$204)
Dashboard | COUNTIF | Count the number of cases by condition: Normal, Warning, Urgent Action, and Stopped. | '=COUNTIF('Condition Assessment'!$H:$H,"Urgent Action")
Dashboard | COUNTIFS | Count tasks matching multiple conditions. Example: Uncompleted and overdue corrective tasks. | '=COUNTIFS('Issues and Deficiencies'!$I:$I,"<"&TODAY(),'Issues and Deficiencies'!$J:$J,"<>Completed")