## 00_Dashboard
Equipment Repair or Replace LCC Decision Analyzer
Use this workbook for repair, life-extension, and replacement decisions. Yellow cells are inputs, gray cells are formulas, and green cells are outputs or decisions.
Core Metrics | Result |  | Current Decision Rule Summary
Assets Entered |  |  | Replacement Economics Threshold |  |  |  | Force Replacement for Severe Risk
Recommended Replacements |  |  | Analysis Period |  |  |  | Discount Rate
Recommended Repair or Life Extension |  |  | Budget Cap |  |  |  | Currency
Review or Pilot Count |  |  | Recommended Workflow |  | Enter assets -> choose scenario -> review LCC -> check matrix -> approve and execute
High Priority Items |  |  | Template Coverage |  | Scenarios for high downtime loss, energy-saving replacement, failure risk, budget constraints, safety and compliance, capacity expansion, and temporary life extension
Annualized Replacement Savings |  |  | Data Source |  | See the instructions for the page link. Assumptions can be adjusted to match company policy.
Average EAC Savings Rate |  |  | How to Use the Output |  | Use the final decision column in 04_LCC Calculation and 05_Decision Matrix as the decision basis.
Decision Category | Count
Replace
Repair/extend life
Review/pilot
Other/undecided
Critical Asset Tracking (first 10 rows; filter the LCC Calculation sheet for all rows)
Asset ID | Equipment Name | Scenario | Repair Total LCC | Replacement Total LCC | EAC Savings Rate | Priority | Final Decision | Owner | Planned Date

## 01_Assumptions
Base Assumptions and Company Rules
Adjust yellow cells to match company policy, project scope, currency, and approval rules. All LCC formulas reference this sheet.
Assumption | Default/Input | Unit/Format | Purpose | Required | Notes
Company/Organization | Sample Facilities Inc. | Text | Report heading and filters | No | Replace with the group, business unit, or project company name
Project/Department | Facilities Department | Text | Responsible team | No | Useful for cross-functional approvals
Currency | CNY | Text | Amount basis | Yes | For example, CNY, USD, or EUR
Prepared Date |  | Date | Version control | Yes | Defaults to today
Analysis Period (years) | 10 | years | LCC period cap | Yes | Usually the asset planning horizon or company investment review period
Discount Rate | 8% | % | Time value of money | Yes | Set based on WACC, financing cost, or internal return requirements
General Cost Inflation Rate | 2% | % | Repair and maintenance cost growth | Yes | Used for annual maintenance cost PV
Energy Price Growth Rate | 3% | % | Energy cost growth | Yes | Used for energy cost PV
Downtime Loss Growth Rate | 2% | % | Downtime loss growth | Yes | Used for failure downtime PV
Carbon Price/Carbon Cost | 0 | CNY/tCO2e | Environmental cost extension | No | Carbon trading or an internal carbon price can be added later
Per-Asset Budget Cap |  | Amount | Budget check | No | Leave blank if there is no budget limit
Default Annual Operating Hours | 6000 | hours/year | Default value | No | Reference value when the asset register is blank
Default Downtime Loss Rate | 2000 | CNY/hour | Default value | No | Used for estimating production-critical assets
Replacement Economics Threshold | 5% | % | Automatic recommendation | Yes | Recommend replacement when the replacement savings rate is at or above this threshold
Force Replacement for Severe Risk | Yes | Yes/No | Safety/Compliance | Yes | If risk is severe and this is Yes, prioritize replacement
New Asset Annual Repair Cost Ratio | 45% | % | Replacement maintenance cost | Yes | Used to estimate annual maintenance cost for the new asset
New Asset Failure Rate Ratio | 35% | % | Replacement failure cost | Yes | Used to estimate failures for the new asset
Template Source URL | http://localhost:2020/en/excel-templates/facility-management/equipment-repair-replace-lcc/ | URL | Source note | No | This environment cannot access localhost directly, so the workbook is built from general LCC modeling logic
Last Maintenance Note | Replace sample rows with your real equipment data | Text | Instructions | No | Keep a version backup for each evaluation
Built-in Automatic Decision Rules
Rule | Decision Logic | Output
Severe Safety/Compliance Risk | Safety/compliance risk is severe and Force Replacement for Severe Risk is Yes | Replace
Replacement economics advantage | Replacement savings rate = (Repair EAC - Replacement EAC) / Repair EAC >= replacement economics threshold | Replace
Repair economics advantage | Replacement savings rate <= negative replacement economics threshold | Repair/extend life
Economics are close | EAC savings rate is within the positive and negative threshold band | Review/pilot
Budget constraint | Replacement initial investment exceeds the per-asset budget cap | Replace-budget approval required

## 02_Scenarios
Business Scenario Assumptions
Adjust multipliers to match company conditions. After a scenario is selected in the asset register, the LCC calculation references the matching multipliers automatically.
Scenario Name | Scenario Description | Repair Cost Multiplier | Replacement Investment Multiplier | Downtime Loss Multiplier | Failure Probability Multiplier | Energy Cost Multiplier | Residual Value Multiplier | Repair Risk Penalty | Replacement Execution Penalty | Typical Use
Standard | Routine repair or replacement comparison, assuming production impact matches historical levels | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Annual capital expenditure and routine overhaul
High Downtime Loss | Equipment downtime may create a line bottleneck or missed delivery commitment | 1.05 | 1 | 1.5 | 1.2 | 1 | 1 | 1 | 0 | Continuous production and critical lines
Energy-Saving Replacement | Energy consumption difference is the main driver | 1 | 1 | 1 | 1 | 1.15 | 1 | 0 | 0 | Air compressors, chillers, boilers, and pumps
High Failure Risk | Historical failure frequency is rising or spare parts supply is unstable | 1.2 | 1 | 1.2 | 1.5 | 1 | 0.95 | 2 | 0 | Aging equipment or imported spare parts disruption
Budget Constraint | Investment budget is limited and short-term cash flow matters | 0.95 | 1.05 | 1 | 1 | 1 | 1 | 0 | 1 | Annual budget cuts and temporary life extension
Safety/Compliance Critical | Safety, environmental, or compliance review pressure exists | 1.1 | 1 | 1.2 | 1.3 | 1.05 | 0.9 | 3 | 0 | Special equipment, environmental systems, and safety interlocks
Capacity Expansion | Replacement can support higher load or capacity ramp-up | 1 | 1.1 | 1.2 | 1.1 | 1 | 1.05 | 0 | 1 | New orders and capacity expansion upgrades
Temporary Transition/Lease | Maintain short-term operation while waiting for a project or relocation | 0.85 | 0.9 | 1.1 | 1.1 | 1 | 0.8 | 1 | 2 | Pre-relocation use and replacement equipment leasing
Life Extension Before Retirement | Asset is near retirement, so cash spending control is prioritized | 0.9 | 1.05 | 1 | 1.2 | 1 | 0.7 | 2 | 1 | Product line exit or plant closure plan

## 03_Asset Register
Asset Register and Base Inputs
Maintain equipment from row 2 onward. Yellow columns are inputs, and column AE checks data quality automatically. Sample rows can be deleted or replaced.
Asset ID | Company/Legal Entity | Plant/Area | Equipment Category | Equipment Name | Equipment Number | Criticality | Current Status | Business Scenario | Age (years) | Design Life (years) | Annual Operating Hours | Downtime Loss (CNY/hour) | Current Annual Repair Cost | Annual Failures | Downtime per Failure (hours) | Current Energy Use (kWh/year) | New Asset Energy Use (kWh/year) | Energy Unit Price (CNY/kWh) | One-Time Repair Cost | Replacement Purchase Price | Installation and Commissioning Cost | Training and Migration Cost | Replacement Execution Downtime (hours) | Removal/Disposal Cost | Remaining Life After Repair (years) | New Asset Economic Life (years) | Terminal Value After Repair | New Asset Terminal Value | Safety/Compliance Risk | Data Quality | Notes
EQ-001 | Sample Facilities Inc. | East Plant | Power Equipment | Air Compressor A | AC-1001 | A-Critical | Degraded | Energy-Saving Replacement | 8 | 12 | 7000 | 3000 | 85000 | 4 | 6 | 420000 | 300000 | 0.85 | 180000 | 650000 | 80000 | 30000 | 24 | 20000 | 4 | 10 | 30000 | 120000 | Medium |  | Energy use is high; verify efficiency of the new model
EQ-002 | Sample Facilities Inc. | South Plant | Utilities | Chiller 1 | CH-210 | A-Critical | Failed | High Downtime Loss | 11 | 15 | 6000 | 5000 | 130000 | 3 | 10 | 580000 | 410000 | 0.9 | 260000 | 1250000 | 150000 | 50000 | 36 | 30000 | 5 | 12 | 50000 | 260000 | High |  | Peak-season downtime loss is high
EQ-003 | Sample Facilities Inc. | North Plant | Production Equipment | CNC Machine M3 | CNC-M3 | B-Important | Pending review | High Failure Risk | 9 | 10 | 4500 | 2500 | 70000 | 6 | 4 | 180000 | 150000 | 0.95 | 120000 | 520000 | 60000 | 20000 | 16 | 15000 | 3 | 8 | 20000 | 90000 | Medium |  | Spare parts lead time is long
EQ-004 | Sample Facilities Inc. | East Plant | Production Equipment | Conveyor Line Motor Set | MTR-L02 | C-General | Normal | Budget Constraint | 6 | 12 | 5000 | 800 | 25000 | 2 | 2 | 95000 | 82000 | 0.88 | 45000 | 180000 | 25000 | 8000 | 8 | 5000 | 4 | 8 | 8000 | 30000 | Low |  | Can be used as a budget-constraint sample
EQ-005 | Sample Facilities Inc. | West Plant | Environmental Safety | Boiler Feedwater Pump | PMP-BF1 | A-Critical | Degraded | Safety/Compliance Critical | 14 | 15 | 6500 | 4000 | 95000 | 5 | 5 | 220000 | 175000 | 0.82 | 210000 | 480000 | 70000 | 15000 | 20 | 12000 | 3 | 10 | 15000 | 90000 | Severe |  | Compliance risk is high

## 04_LCC Calculation
LCC Calculation and Repair-or-Replace Decision
This sheet calculates lifecycle cost for repair and replacement by asset register row. Do not manually overwrite formula columns; use the Manual Override column for exceptions.
Asset ID | Equipment Name | Company/Area | Equipment Category | Business Scenario | Criticality | Safety/Compliance Risk | Repair Analysis Period (years) | Replacement Analysis Period (years) | Scenario_Repair Multiplier | Scenario_Purchase Multiplier | Scenario_Downtime Multiplier | Scenario_Failure Multiplier | Scenario_Energy Multiplier | Repair One-Time Cost | Repair Annual Maintenance PV | Repair Failure Downtime PV | Repair Energy PV | Repair Residual Value PV (credit) | Repair Total LCC | Replacement Initial Investment | Replacement Execution Downtime Loss | Replacement Annual Maintenance PV | Replacement Failure Downtime PV | Replacement Energy PV | Replacement Residual Value PV (credit) | Replacement Total LCC | Replacement Annualized Savings (EAC) | Replacement Savings Rate (EAC) | Incremental Payback (years) | Automatic recommendation | Recommendation Notes | Budget check | Priority | Manual Override | Final Decision | Action Status | Responsible Person | Planned Date

## 05_Decision Matrix
Multi-Factor Decision Matrix
Scores combine economics, reliability, safety/compliance, production continuity, energy/carbon, and execution difficulty. Weights can be adjusted, and higher scores are better.
Evaluation Dimension | Weight | Notes
LCC Economics | 35% | Lower LCC earns a higher score
Reliability | 20% | Combines failure count, age, and life
Safety/Compliance | 20% | Lower risk, or risk removed by replacement, earns a higher score
Production Continuity | 10% | Impact of failure downtime and execution downtime
Energy/Carbon | 10% | Lower energy use earns a higher score
Execution Difficulty | 5% | Repair is usually easier to execute; replacement depends on downtime and migration needs
Total
Asset ID | Equipment Name | Scenario | Repair Economics Score | Replacement Economics Score | Repair Reliability Score | Replacement Reliability Score | Repair Safety Score | Replacement Safety Score | Repair Composite Score | Replacement Composite Score | Score Difference | Matrix Recommendation | Notes

## 06_Scenario Analysis
Single-Asset Scenario Analysis
After one asset ID is selected, this sheet recalculates repair and replacement LCC under all built-in scenarios for sensitivity analysis.
Select Asset ID | EQ-001
Asset Name
Current Default Scenario
Basis Note | Scenario multipliers x asset register inputs x base assumption PV factors
Scenario Name | Repair Multiplier | Purchase Multiplier | Downtime Multiplier | Failure Multiplier | Energy Multiplier | Repair Annualized LCC (EAC) | Replacement Annualized LCC (EAC) | Annualized Replacement Savings | Replacement Savings Rate (EAC) | Scenario Recommendation | Notes

## 07_Data Dictionary
Data Dictionary and Dropdown Options
Criticality | Current Status | Safety/Compliance Risk | Manual Override | Action Status | Equipment Category Example | Responsible Role Example | Notes
A-Critical | Normal | Low |  | Pending review | Power Equipment | Facility Manager | This sheet provides dropdown options and field definitions; maintain it according to company standards.
B-Important | Degraded | Medium | Replace | Reviewed | Production Equipment | Production Manager
C-General | Failed | High | Repair/extend life | Pending approval | Utilities | Finance Business Partner
| Pending review | Severe | Review/pilot | Approved | Inspection Equipment | EHS
| Inactive |  | Deferred | In progress | Environmental Safety | Procurement
|  |  |  | Closed | IT/Automation | Project Manager
Main Field Definitions
Field | Definition | Recommended Basis
One-Time Repair Cost | Immediate overhaul, spare parts, outsourcing, testing, and related costs required to keep the current asset in service | Excludes future routine annual maintenance cost
Replacement Purchase Price | Purchase price of the new equipment body | Excludes installation, commissioning, training, and removal
Downtime Loss | Combined losses from production volume loss, outsourced recovery, breach costs, overtime, and other downtime impacts | Prefer finance-confirmed contribution margin or opportunity cost
Residual Value | Recoverable, resale, or book disposal value at the end of the analysis period | Discount as a credit against LCC
Savings Rate | (Repair Total LCC - Replacement Total LCC) / Repair Total LCC | A positive value means replacement is more economical

## 08_Approval Tracking
Approval and Execution Tracking
Use this sheet to convert the LCC recommendation into an execution plan: budget, approval, procurement, downtime window, acceptance, and closure.
Asset ID | Equipment Name | Final Decision | Requested Amount | Budget Account | Approver | Approval Status | Planned Downtime Window | Estimated Completion Date | Actual Completion Date | Execution Owner | Notes