## လမ်းညွှန်
Facility Management Equipment Repair Replace Lcc Template
Excel template for facility management equipment repair replace lcc template.
Type | Color | Meaning | Main Usage
Input | #F4F6F6 | Cells where the user enters amounts, dates, notes, etc. directly. | Equipment Register, Repair Records, Approval Tracking
Select | #EBF5FA | プルダウンから選択するセル | Equipment ID, Risk Category, Application Status
Auto Calculation | #EBF2F0 | Cells automatically calculated by formulas. | ダッシュボード、LCC計算、判断マトリクス

## ဒက်ရှ်ဘုတ်
ဒက်ရှ်ဘုတ်
Excel template for facility management equipment repair replace lcc template.
設備ID | Equipment Name | 経過年数 | 修繕費率(%) | 判定結果（更新/経過観察/適正） | 推奨アクション

## Equipment Register ကို အဖွဲ့အတွ
Equipment Register ကို အဖွဲ့အတွ
Excel template for facility management equipment repair replace lcc template.
設備ID | Equipment Name | Category | Location | Service Start Date | Acquisition Cost | Expected Lifespan (Years) | Current Replacement Estimate | Risk Category (High/Medium/Low)
EQ-001 | HVAC Chiller No. 1 | HVAC | Mechanical Room A | 2014-04-01 | ¥12,000,000 | 15 | ¥15,800,000 | 高
EQ-002 | 受変電設備 | Electrical | Electrical Room | 2011-09-15 | ¥28,000,000 | 20 | ¥35,000,000 | 高
EQ-003 | Water Supply Pump | Plumbing | Pump Room | 2018-02-01 | ¥4,200,000 | 12 | ¥5,500,000 | 中

## Repair Records
Repair Records
Excel template for facility management equipment repair replace lcc template.
修繕ID | 修繕日 | 設備ID | Equipment Name | 修繕内容 | 修繕費用 | 停止時間(時間) | 停止損失額 | 再発フラグ（あり/なし） | Contractor
R-0001 | 2023-04-12 | EQ-001 |  | 冷媒漏れ補修・圧力調整 | ¥850,000 | 6.0 | ¥420,000 | Yes | Yamada Equipment
R-0002 | 2023-06-07 | EQ-008 |  | 攪拌モーター交換 | ¥1,250,000 | 10.0 | ¥900,000 | Yes | Environmental Facility
R-0003 | 2023-09-18 | EQ-003 |  | メカニカルシール交換 | ¥310,000 | 2.5 | ¥120,000 | No | Suiken Service

## LCC Calculation
LCC Calculation
Excel template for facility management equipment repair replace lcc template.
項目 | Repair Option: Nominal Amount | Repair Option: Present Value (PV) | Replacement Option: Nominal Amount | Replacement Option: Present Value (PV) | 備考 | 案 | LCC Present Value
Initial Investment (Replacement Cost) | ¥0 |  |  |  | 更新案では現在の更新見積額を初期投資として計上 | 修理継続案
Annual Maintenance & Repair Cost |  |  |  |  | Estimated based on annual average of past repair costs | 更新案
Annual Energy Cost | ¥1,200,000 |  | ¥900,000 |  | 更新案は省エネ効果を想定して低めに設定

## Decision Matrix
Decision Matrix
Excel template for facility management equipment repair replace lcc template.
設備ID | Equipment Name | Lifespan Elapsed Rate | 修繕費率 | リスクスコア | 判定指標 | 推奨推奨区分 | Manager Recommendation Note

## Scenario Analysis ကို အဖွဲ့အတွက
Scenario Analysis ကို အဖွဲ့အတွက
Excel template for facility management equipment repair replace lcc template.
シナリオ | Discount Rate | Inflation Rate | Energy Price Growth Rate | 修理継続案PV | 更新案PV | 推奨案
基準
低金利 | 1.5%
高金利 | 6.0%

## Approval Tracking
Approval Tracking
Excel template for facility management equipment repair replace lcc template.
設備ID | 申請ステータス（未申請/申請中/承認済） | 承認日 | 発注金額 | 工事予定日 | Completion Verifier
EQ-001 | 申請中 |  | ¥15,800,000 | 2026-08-20
EQ-008 | 未申請 |  | ¥22,000,000
EQ-002 | 承認済 | 2026-05-30 | ¥35,000,000 | 2026-09-15 | Sato

## Data Dictionary & Formulas
Data Dictionary & Formulas
Excel template for facility management equipment repair replace lcc template.
Term / Item | Definition / Meaning | Key Formulas | 利用シート | 入力/計算
LCC | Life Cycle Cost. The total cost including initial investment, maintenance, energy, downtime loss, and residual/dismantling value. | Total LCC = Initial Investment PV + Annual Cost PV + Residual Value/Dismantling Cost PV | LCC Calculation | 計算
PV（現在価値） | The value of future costs converted to present value using the discount rate. | '=将来費用/(1+割引率)^年数 | LCC Calculation | 計算
NPV | Net Present Value. The sum of the present values of future cash flows. The Excel function discounts end-of-period amounts. | '=NPV(割引率, 年1費用:年n費用)+初期投資 | LCC Calculation | 計算