## Operation Scenarios 6
Facility Management Utility Consumption Anomaly Dashboard Template
Excel template for facility management utility consumption anomaly dashboard template.
SC-003 | Plyn | Sudden surge in kitchen gas | Increase in events/preparation, water heater failure, burner incomplete combustion | Check event schedule and kitchen operating days | Verify combustion state, water heater operation, kitchen staff interview, reading sheets | Combustion adjustment, water heater inspection, improve operating rules | Response Management | Kontroluje se | Rozpracováno | Kitchen
SC-004 | Elektřina | Whole building electricity increased from baseline | Increase in standby power, addition of server/refrigeration equipment, holiday operations | Compare holiday/night peak and base load | Check logs by distribution board, equipment addition history, tenant operations, security/lighting schedule | Stop unnecessary equipment, review lighting/HVAC schedules | Měsíční souhrn |  |  | Strojovna
SC-005 | Voda | Sudden drop in usage | Reading error, meter failure, closure, facility suspension | Verify reading values with photos | Check meter operation, user count, closure history, and construction schedule | Re-reading, request meter replacement, input value correction | Energy Data Input |  |  | Whole Building
SC-006 | Plyn | Low usage despite heating season | Heating stopped, sensor drift, contract system change | Verify equipment operating status and usage areas | Check heating equipment, kitchen usage, equipment inspection sheets, bill systems | Organize measurement systems, review meter IDs, re-reading | Nastavení |  |  | 2F Office

## Operation Scenarios
Operation Scenarios
Excel template for facility management utility consumption anomaly dashboard template.
SC-003 | Plyn | Sudden surge in kitchen gas | Increase in events/preparation, water heater failure, burner incomplete combustion | Check event schedule and kitchen operating days | Verify combustion state, water heater operation, kitchen staff interview, reading sheets | Combustion adjustment, water heater inspection, improve operating rules | Response Management | Kontroluje se | Rozpracováno | Kitchen
SC-004 | Elektřina | Whole building electricity increased from baseline | Increase in standby power, addition of server/refrigeration equipment, holiday operations | Compare holiday/night peak and base load | Check logs by distribution board, equipment addition history, tenant operations, security/lighting schedule | Stop unnecessary equipment, review lighting/HVAC schedules | Měsíční souhrn |  |  | Strojovna
SC-005 | Voda | Sudden drop in usage | Reading error, meter failure, closure, facility suspension | Verify reading values with photos | Check meter operation, user count, closure history, and construction schedule | Re-reading, request meter replacement, input value correction | Energy Data Input |  |  | Whole Building
SC-006 | Plyn | Low usage despite heating season | Heating stopped, sensor drift, contract system change | Verify equipment operating status and usage areas | Check heating equipment, kitchen usage, equipment inspection sheets, bill systems | Organize measurement systems, review meter IDs, re-reading | Nastavení |  |  | 2F Office

## Měsíční souhrn
Měsíční souhrn
Excel template for facility management utility consumption anomaly dashboard template.
Scenario ID | Cíl | Typical Sign | Assumed Cause | Initial Check | Detail Check | Recommended Action | Target Module | Re-reading Result | Stav | Reader | Poznámky | Electricity (kWh) | Water (m³) | Gas (m³) | Total Cost | Carbon (kg)
SC-001 | Target | High water usage during nights/holidays | Assumed Cause | Check if meter rotates after closing | Water shutoff by system, visual check of toilets/pantry/outdoor pipes, verify with previous month photos | Recommended Action | Target Module | Re Reading Result | Status | Jan Novák | Sample Data
SC-002 | Target | Sudden surge in HVAC system only | Assumed Cause | Check BMS/timer settings and operating hours | Check outdoor unit log, temperature setting, holiday operation, filter clog, tenant operations | Recommended Action | Target Module | Re Reading Result | Status | Eva Sabolová | Sample Data
SC-003 | Target | Sudden surge in kitchen gas | Assumed Cause | Check event schedule and kitchen operating days | Verify combustion state, water heater operation, kitchen staff interview, reading sheets | Recommended Action | Target Module | Re Reading Result | Status | Jordan Lee | Sample Data

## Operation Scenarios 2
Operation Scenarios 2
Excel template for facility management utility consumption anomaly dashboard template.
SC-003 | Plyn | Sudden surge in kitchen gas | Increase in events/preparation, water heater failure, burner incomplete combustion | Check event schedule and kitchen operating days | Verify combustion state, water heater operation, kitchen staff interview, reading sheets | Combustion adjustment, water heater inspection, improve operating rules | Response Management | Kontroluje se | Rozpracováno | Kitchen
SC-004 | Elektřina | Whole building electricity increased from baseline | Increase in standby power, addition of server/refrigeration equipment, holiday operations | Compare holiday/night peak and base load | Check logs by distribution board, equipment addition history, tenant operations, security/lighting schedule | Stop unnecessary equipment, review lighting/HVAC schedules | Měsíční souhrn |  |  | Strojovna
SC-005 | Voda | Sudden drop in usage | Reading error, meter failure, closure, facility suspension | Verify reading values with photos | Check meter operation, user count, closure history, and construction schedule | Re-reading, request meter replacement, input value correction | Energy Data Input |  |  | Whole Building
SC-006 | Plyn | Low usage despite heating season | Heating stopped, sensor drift, contract system change | Verify equipment operating status and usage areas | Check heating equipment, kitchen usage, equipment inspection sheets, bill systems | Organize measurement systems, review meter IDs, re-reading | Nastavení |  |  | 2F Office

## Operation Scenarios 3
Operation Scenarios 3
Excel template for facility management utility consumption anomaly dashboard template.
SC-003 | Plyn | Sudden surge in kitchen gas | Increase in events/preparation, water heater failure, burner incomplete combustion | Check event schedule and kitchen operating days | Verify combustion state, water heater operation, kitchen staff interview, reading sheets | Combustion adjustment, water heater inspection, improve operating rules | Response Management | Kontroluje se | Rozpracováno | Kitchen
SC-004 | Elektřina | Whole building electricity increased from baseline | Increase in standby power, addition of server/refrigeration equipment, holiday operations | Compare holiday/night peak and base load | Check logs by distribution board, equipment addition history, tenant operations, security/lighting schedule | Stop unnecessary equipment, review lighting/HVAC schedules | Měsíční souhrn |  |  | Strojovna
SC-005 | Voda | Sudden drop in usage | Reading error, meter failure, closure, facility suspension | Verify reading values with photos | Check meter operation, user count, closure history, and construction schedule | Re-reading, request meter replacement, input value correction | Energy Data Input |  |  | Whole Building
SC-006 | Plyn | Low usage despite heating season | Heating stopped, sensor drift, contract system change | Verify equipment operating status and usage areas | Check heating equipment, kitchen usage, equipment inspection sheets, bill systems | Organize measurement systems, review meter IDs, re-reading | Nastavení |  |  | 2F Office

## Operation Scenarios 4
Operation Scenarios 4
Excel template for facility management utility consumption anomaly dashboard template.
SC-003 | Plyn | Sudden surge in kitchen gas | Increase in events/preparation, water heater failure, burner incomplete combustion | Check event schedule and kitchen operating days | Verify combustion state, water heater operation, kitchen staff interview, reading sheets | Combustion adjustment, water heater inspection, improve operating rules | Response Management | Kontroluje se | Rozpracováno | Kitchen
SC-004 | Elektřina | Whole building electricity increased from baseline | Increase in standby power, addition of server/refrigeration equipment, holiday operations | Compare holiday/night peak and base load | Check logs by distribution board, equipment addition history, tenant operations, security/lighting schedule | Stop unnecessary equipment, review lighting/HVAC schedules | Měsíční souhrn |  |  | Strojovna
SC-005 | Voda | Sudden drop in usage | Reading error, meter failure, closure, facility suspension | Verify reading values with photos | Check meter operation, user count, closure history, and construction schedule | Re-reading, request meter replacement, input value correction | Energy Data Input |  |  | Whole Building
SC-006 | Plyn | Low usage despite heating season | Heating stopped, sensor drift, contract system change | Verify equipment operating status and usage areas | Check heating equipment, kitchen usage, equipment inspection sheets, bill systems | Organize measurement systems, review meter IDs, re-reading | Nastavení |  |  | 2F Office

## Operation Scenarios 5
Operation Scenarios 5
Excel template for facility management utility consumption anomaly dashboard template.
SC-003 | Plyn | Sudden surge in kitchen gas | Increase in events/preparation, water heater failure, burner incomplete combustion | Check event schedule and kitchen operating days | Verify combustion state, water heater operation, kitchen staff interview, reading sheets | Combustion adjustment, water heater inspection, improve operating rules | Response Management | Kontroluje se | Rozpracováno | Kitchen
SC-004 | Elektřina | Whole building electricity increased from baseline | Increase in standby power, addition of server/refrigeration equipment, holiday operations | Compare holiday/night peak and base load | Check logs by distribution board, equipment addition history, tenant operations, security/lighting schedule | Stop unnecessary equipment, review lighting/HVAC schedules | Měsíční souhrn |  |  | Strojovna
SC-005 | Voda | Sudden drop in usage | Reading error, meter failure, closure, facility suspension | Verify reading values with photos | Check meter operation, user count, closure history, and construction schedule | Re-reading, request meter replacement, input value correction | Energy Data Input |  |  | Whole Building
SC-006 | Plyn | Low usage despite heating season | Heating stopped, sensor drift, contract system change | Verify equipment operating status and usage areas | Check heating equipment, kitchen usage, equipment inspection sheets, bill systems | Organize measurement systems, review meter IDs, re-reading | Nastavení |  |  | 2F Office

## Nastavení
Nastavení
Excel template for facility management utility consumption anomaly dashboard template.
ID měřidla | Meter Name | Utility Type | Lokace | Jednotka | Basic Fee | Jednotková cena | Carbon Factor | Monthly Budget | Assignee ID | Assignee Name | Department/Role
EL-001 | Main Power | Elektřina | Whole Building | kWh | 12,000 | 32.50 | 0.434 | 55,000.0 | ST-001 | Jan Novák | Facility Mgmt
EL-002 | HVAC System | Elektřina | 2F Office | kWh | 8,000 | 31.00 | 0.434 | 18,000.0 | ST-002 | Eva Sabolová | Equipment Maint
WA-001 | Main Water | Voda | Whole Building | m³ | 3,500 | 265.00 | 0.360 | 920.0 | ST-003 | Jordan Lee | Všeobecná správa

## Průvodce
Průvodce
Excel template for facility management utility consumption anomaly dashboard template.
Kategorie | Barva | Účel
Vstupní buňka | #F0F6F6 | Items directly input by users, such as reading values, target days, notes, etc.
Selection Cell | #EBF5FA | Items selected from dropdowns, such as Meter ID, reader, status, etc.
Automaticky vypočítaná buňka | #F2F2F2 | Items automatically calculated by formulas, such as usage, variance, cost, carbon emissions, etc.