## Dashboard
Utility Consumption Anomaly Alert - Dashboard
Filters | Current value | Description |  | Total usage | Total cost | Anomaly count | High / severe anomalies | Open anomalies | Carbon kgCO2e
Company | All | 选择Company或填“All”
Start date | 2026-04-01 | 统计起始日
End date | 2026-04-30 | 统计结束日 |  | Dashboard notes | Anomaly count基于《Anomaly Detection》；High / severe anomaliesRecommendation优先闭环；Total cost和碳排来自录入数据的Unit price与碳因子。
Business scenario | All | 按场景过滤 |  | Quick tip | 先维护《Base Settings》，再粘贴《Energy Data Input》，最后查看本页和《Closed-loop Actions》。
Energy type | All | 按Energy type过滤 |  | Scope | 办公楼、商业综合体、工厂、School / hospital、酒店公寓、数据Medium心、市政供Water、集团多Company。
Month | Electricity | Water | Gas | Heat | Steam | Cooling |  | Anomaly category | Count | Business scenario | Anomalies
2026-01-01 | [7 empty] | Normal |  | Office building / headquarters campus
2026-02-01 | [7 empty] | Usage spike |  | Commercial complex / office building
2026-03-01 | [7 empty] | Severe spike |  | Industrial park / factory
2026-04-01 | [7 empty] | Usage drop |  | School / hospital
2026-05-01 | [7 empty] | Area intensity overrun |  | Hotel / serviced apartment
2026-06-01 | [7 empty] | Stalled reading / possibly offline |  | Data center / server room
2026-07-01 | [7 empty] | Missing reading |  | Municipal / water supply zone
2026-08-01 | [9 empty] | Multi-subsidiary group
2026-09-01
2026-10-01
2026-11-01
2026-12-01
Formulas:
Current value = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Filters],'Energy Data Input'!$B6:B205,"<"&EDATE([Filters],1),'Energy Data Input'!$J6:J205,"Electricity")
Description = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Filters],'Energy Data Input'!$B6:B205,"<"&EDATE([Filters],1),'Energy Data Input'!$J6:J205,"Water")
Gas = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Filters],'Energy Data Input'!$B6:B205,"<"&EDATE([Filters],1),'Energy Data Input'!$J6:J205,"Gas")
Total usage = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Filters],'Energy Data Input'!$B6:B205,"<"&EDATE([Filters],1),'Energy Data Input'!$J6:J205,"Heat")
Total cost = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Filters],'Energy Data Input'!$B6:B205,"<"&EDATE([Filters],1),'Energy Data Input'!$J6:J205,"Steam")
Anomaly count = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Filters],'Energy Data Input'!$B6:B205,"<"&EDATE([Filters],1),'Energy Data Input'!$J6:J205,"Cooling")

## Energy Data Input
Energy Data Entry by Company, Scenario, Area, and Meter
Usage notes | Enter date, company, scenario, area, equipment, energy type, current and previous readings, area, and business volume. Unit, price, usage, amount, carbon, and intensity are calculated automatically.
Input rules | Yellow columns are recommended inputs; blue-green columns are formulas. Paste exports from meter reading, billing, or IoT systems.
Record ID | Date | Company | Business scenario | Area / site | Building / floor | Department / tenant / line | Equipment / metering point | Meter ID | Energy type | Unit | Current reading | Previous reading | Current usage | Unit price | Amount | Time band / shift | Occupancy | Area m2 | Output / business volume | Carbon kgCO2e | Energy per area | Energy per business volume | Data source | Notes
D0001 | 2026-04-01 | Example Group | Office building / headquarters campus | Headquarters campus | Building A / 1F | Administration office | Lighting circuit A1 | E-A1-001 | Electricity |  | 12880 | 12630 |  |  |  | All day | 120 | 2200 | 0 |  |  |  | Automatic meter reading | 示例，可删除
D0002 | 2026-04-01 | Example Group | Office building / headquarters campus | Headquarters campus | Building A / B1 | Public restroom | Main water meter A | W-A-001 | Water |  | 3560 | 3546 |  |  |  | 低负荷/夜间 | 120 | 2200 | 0 |  |  |  | Automatic meter reading | 夜间小流量检查
D0003 | 2026-04-02 | Example Group | Commercial complex / office building | Commercial center | 3F | Restaurant tenant C01 | Restaurant water meter C01 | W-C01-003 | Water |  | 846 | 812 |  |  |  | Peak | 0 | 380 | 0 |  |  |  | IoT platform import | 餐饮用Water突增示例
D0004 | 2026-04-02 | Example Group | Industrial park / factory | Plant 1 | Workshop 1 | Production line A | Production line A main meter | E-LA-001 | Electricity |  | 92600 | 91450 |  |  |  | Day shift | 60 | 1500 | 980 |  |  |  | ERP / MES import | 关联产量
D0005 | 2026-04-03 | Example Group | Industrial park / factory | 动力站 | 锅炉房 | 锅炉系统 | 燃Gas总表G1 | G-BLR-001 | Gas |  | 18680 | 18120 |  |  |  | All day | 8 | 450 | 0 |  |  |  | Automatic meter reading | 锅炉用Gas
D0006 | 2026-04-03 | Example Group | School / hospital | Hospital campus | Inpatient building | Hot water system | HeatWater总表 | H-HW-001 | Heat |  | 2340 | 2318 |  |  |  | All day | 420 | 7800 | 0 |  |  |  | Bill import | Inpatient buildingHeat耗
D0007 | 2026-04-04 | Example Group | Hotel / serviced apartment | Apartment campus | Building 2 | 长租公寓 | Building 2 water meter | W-APT-002 | Water |  | 1120 | 1118 |  |  |  | 低负荷/夜间 | 80 | 3200 | 0 |  |  |  | Automatic meter reading | Water use while vacant排查
D0008 | 2026-04-04 | Example Group | Data center / server room | DC1 | Server room 1 | Chiller plant | Chilled water cooling meter | C-CH-001 | Cooling |  | 5680 | 5620 |  |  |  | All day | 0 | 600 | 42 |  |  |  | IoT platform import | Cooling/IT负载
D0009 | 2026-04-05 | Example Group | Municipal / water supply zone | DMA-01 | Zone A | 供Water分区 | DMA-01 main meter | W-DMA-001 | Water |  | 48900 | 48840 |  |  |  | 低负荷/夜间 | 0 | 0 | 0 |  |  |  | Automatic meter reading | 夜间最小流量
D0010 | 2026-04-06 | Example Group | Office building / headquarters campus | Headquarters campus | Building A / 2F | 空调系统 | 空调回路A2 | E-A2-AC | Electricity |  | 21600 | 21280 |  |  |  | All day | 115 | 2200 | 0 |  |  |  | Automatic meter reading | 空调能耗
D0011 | 2026-04-07 | Example Group | Commercial complex / office building | Commercial center | 公区 | 公共照明 | 公区照明总表 | E-MALL-PUB | Electricity |  | 74800 | 74120 |  |  |  | All day | 0 | 12500 | 0 |  |  |  | Automatic meter reading | 公摊用Electricity
D0012 | 2026-04-08 | Example Group | Multi-subsidiary group | East China branch | Campus total | Integrated energy | Standard coal equivalent | T-CE-001 | Integrated energy use |  | 8500 | 8320 |  |  |  | All day | 0 | 26000 | 1800 |  |  |  | Bill import | Monthly conversion example

## Anomaly Detection
Anomaly Detection for Spikes, Drops, Stalled Readings, and Intensity Overruns
Description | Baseline is the previous 7-day average for the same metering point. Deviation, financial impact, risk level, and recommended action are automatic.
使用 | Status, work order number, and close date can be maintained manually. Copy anomalies to Closed-loop Actions to create work orders.
Anomaly ID | Detection date | Company | Business scenario | Area / site | Department / object | Equipment / metering point | Energy type | Current usage | 7-day baseline | Deviation rate | Energy per area | Alert threshold | Anomaly category | Risk level | Financial impact | Recommended action | Responsible role | Status | Planned completion date | Overdue? | Work order No. | Close date | Notes

## Closed-loop Actions
Closed-loop Actions for Alerts and Savings Review
Usage notes | Select an anomaly ID in column B. Columns C-J fill automatically. Maintain status, completion, root cause, action, savings quantity, and savings amount.
Recommendation流程 | Open -> In progress -> Closed. Severe alerts should be answered within 1 business day; high-risk alerts within 2 business days.
Work order ID | Anomaly ID | Discovery date | Company | Business scenario | Area / site | Equipment / metering point | Energy type | Anomaly category | Risk level | Owner | Status | Planned completion date | Actual completion date | Overdue? | Root cause category | Corrective action | Estimated / actual savings quantity | Savings amount | Review conclusion
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
[11 empty] | Open |  |  |  | Not classified
Formulas:
Overdue? = IF([Planned completion date]="","",IF(AND([Status]<>"Closed",TODAY()>[Planned completion date]),"Overdue","Not overdue"))

## Monthly Summary
Monthly Summary by Energy Type
Description | Column A can be replaced with the first day of any month. Formulas summarize data by month.
Month | Electricity(kWh) | Water(m³) | Gas(m³) | Heat(GJ) | Steam(t) | Cooling(GJ) | Total cost | Anomalies | High / severe anomalies | Carbon kgCO2e | Energy type | Usage summary | Cost summary
2026-01-01 | [10 empty] | Electricity
2026-02-01 | [10 empty] | Water
2026-03-01 | [10 empty] | Gas
2026-04-01 | [10 empty] | Heat
2026-05-01 | [10 empty] | Steam
2026-06-01 | [10 empty] | Cooling
2026-07-01 | [10 empty] | Integrated energy use
2026-08-01
2026-09-01
2026-10-01
2026-11-01
2026-12-01
Formulas:
Electricity(kWh) = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Month],'Energy Data Input'!$B6:B205,"<"&EDATE([Month],1),'Energy Data Input'!$J6:J205,"Electricity")
Water(m³) = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Month],'Energy Data Input'!$B6:B205,"<"&EDATE([Month],1),'Energy Data Input'!$J6:J205,"Water")
Gas(m³) = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Month],'Energy Data Input'!$B6:B205,"<"&EDATE([Month],1),'Energy Data Input'!$J6:J205,"Gas")
Heat(GJ) = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Month],'Energy Data Input'!$B6:B205,"<"&EDATE([Month],1),'Energy Data Input'!$J6:J205,"Heat")
Steam(t) = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Month],'Energy Data Input'!$B6:B205,"<"&EDATE([Month],1),'Energy Data Input'!$J6:J205,"Steam")
Cooling(GJ) = SUMIFS('Energy Data Input'!$N6:N205,'Energy Data Input'!$B6:B205,">="&[Month],'Energy Data Input'!$B6:B205,"<"&EDATE([Month],1),'Energy Data Input'!$J6:J205,"Cooling")
Total cost = SUMIFS('Energy Data Input'!$P6:P205,'Energy Data Input'!$B6:B205,">="&[Month],'Energy Data Input'!$B6:B205,"<"&EDATE([Month],1))
Anomalies = COUNTIFS('Anomaly Detection'!$B6:B205,">="&[Month],'Anomaly Detection'!$B6:B205,"<"&EDATE([Month],1),'Anomaly Detection'!$N6:N205,"<>Normal",'Anomaly Detection'!$N6:N205,"<>")
Carbon kgCO2e = SUMIFS('Energy Data Input'!$U6:U205,'Energy Data Input'!$B6:B205,">="&[Month],'Energy Data Input'!$B6:B205,"<"&EDATE([Month],1))

## Anomaly Rules
Anomaly Rule Library
Description | This rule template uses default thresholds from Base Settings. Add rules by scenario or equipment type as needed.
Rule ID | Enabled | Business scenario | Energy type | Anomaly type | Metric / checkpoint | Alert threshold | Severe threshold | Calculation basis | Applicable objects | Recommended action | SLA hours | Responsible role
R001 | Yes | All | Electricity | Usage spike | 日环比偏差 | 20% | 50% | 同计量点近7日均值对比 | AllElectricity表/回路 | 核查空调、照明、生产设备、PeakOff-peak策略与临时负荷 | 24 | Electrical / equipment supervisor
R002 | Yes | All | Water | Usage spike | 日环比偏差 | 15% | 40% | 同计量点近7日均值对比 | Water表/管网/卫生间 | 检查阀门、管网、卫生间、冷却塔补Water与夜间流Water | 12 | Water / property supervisor
R003 | Yes | All | Gas | Usage spike | 日环比偏差 | 18% | 45% | 同计量点近7日均值对比 | 燃Gas总表/锅炉/厨房 | 核查燃Gas阀门、锅炉燃烧、厨房排班与泄漏风险 | 8 | Utilities / safety supervisor
R004 | Yes | Office building / headquarters campus | Electricity | Night anomaly | 低负荷时段用Electricity | >5kWh | >20kWh | 低负荷/夜间时段用量 | 照明/空调/插座回路 | 核查下班关停、保洁/加班计划与自控策略 | 24 | Property supervisor
R005 | Yes | Commercial complex / office building | Water | High restaurant water use | 租户/业态日用Water | 15% | 40% | 同租户历史均值或同业态均值 | 餐饮租户 | 通知租户自查后厨、地漏、制冰机和阀门 | 12 | Tenant operations manager
R006 | Yes | Industrial park / factory | Electricity | Unit product overrun | kWh/产量 | >目标值 | >目标值*1.5 | 用量/产量或业务量 | 产线/车间 | 联动MES排产，核查设备空转、工艺温度与压缩空Gas | 24 | Production / energy manager
R007 | Yes | Hotel / serviced apartment | Water | Water use while vacant | 空置房间Water耗 | >0.5m³ | >2m³ | 客房Status/租户Status关联 | 客房/公寓 | 核查马桶、Water龙头、HeatWater管路和入住Status | 12 | Rooms / property supervisor
R008 | Yes | Data center / server room | Cooling | Cooling efficiency decline | Cooling/IT负载 | 15% | 35% | Cooling与IT负载相关性 | Chiller plant/精密空调 | 核查冷冻Water温、过滤器、阀门、机柜冷Heat通道 | 4 | Data center operations supervisor
R009 | Yes | Municipal / water supply zone | Water | 夜间最小流量 | 夜间连续流量 | >0.5m³/h | >2m³/h | 00:00-06:00连续流量 | DMA分区/管网 | 安排检漏、阀门分段测试与压力核查 | 24 | Water inspection supervisor
R010 | Yes | All | Integrated energy use | 碳排/预算超限 | 碳排强度或预算达成率 | 10% | 30% | 按区域/Company对比目标 | 集团/分Company | 核查能源结构、预算执行和High耗能环节 | 72 | ESG / energy owner

## Scenario Library
Business Scenario Library
Business scenario | Main objects | Key metrics | Common anomalies | Alert action | Management focus
Office building / headquarters campus | 楼栋、楼层、会议室、餐厅、空调/照明回路 | Unit面积Electricity耗、人均Water耗、夜间低负荷用量 | 长明灯、无人空调、夜间持续流Water、周末异常用Electricity | 推送物业/行政；核查排班、空调时段与阀门 | 节能行为、分区责任、公共区域成本
Commercial complex / office building | 租户、商铺、公区、餐饮、影院、停车场 | 分户能耗、公摊能耗、餐饮HighPeak用Water、租户费用 | 租户Usage spike、公摊异常、餐饮漏Water、欠费/预付费不足 | 定位租户/公区；生成账单差异与预警工单 | 租户计费、公摊公Standard、收缴率
Industrial park / factory | 车间、产线、锅炉、空压机、Water泵、污Water站 | Unit产品能耗、PeakOff-peakElectricity量、设备单耗、班次能耗 | 设备空转、产线单耗升High、燃Gas/Steam异常、读数停滞 | 联动生产计划；派发设备/动力检修 | 成本管控、产线效率、停机风险
School / hospital | 教学楼、宿舍、门诊/Inpatient building、实验室、HeatWater/空调 | 楼宇能耗、假期低负荷、人均用Water、重点设备用能 | 假期未关停、HeatWater泄漏、实验室异常用Electricity、空调策略失效 | 按楼宇/科室Owner提醒；生成巡检清单 | 绿色校园/医院、公共服务保障
Hotel / serviced apartment | 客房、租户、HeatWater、厨房、洗衣房、公共区 | 房晚能耗、租户余额、HeatWater用量、低负荷漏损 | 客房空置仍耗能、租户欠费、HeatWater泄漏、厨房用Gas突增 | 联动入住率/租户账单；核查阀门和设备 | 住客体验、预付费、精细计费
Data center / server room | IT负载、UPS、Chiller plant、精密空调、PDU | PUE、Cooling、Electricity力负载率、温湿度关联能耗 | Cooling efficiency decline、PDU负载突增、非IT负载异常 | 通知机房运维；核查Chiller plant与机柜负载 | 可靠性、容量规划、能效优化
Municipal / water supply zone | DMA分区、泵站、阀门、管线、用户总表 | 夜间最小流量、产销差、泵站Electricity耗、压力 | 管网漏损、泵站空转、通信Medium断、表计异常 | 安排巡检/检漏；跟踪闭环与节Water收益 | 漏损控制、Water务运维
Multi-subsidiary group | 分Company、园区、事业部、区域、成本Medium心 | Integrated energy use、碳排、预算达成、同比/环比 | 超预算、碳排超限、子Company横向偏离 | 集团预警；分级派单与月度复盘 | 预算、ESG、经营分析

## Base Settings
Base Settings / Drop-down Options / Thresholds
Purpose | Maintain company name, reporting cycle, unit prices, carbon factors, anomaly thresholds, roles, and drop-down options first.
Tip | Light yellow cells are recommended inputs. Blue-green headers are settings. Thresholds can be refined by industry or equipment type.
Default company name | Example Group
Default reporting start | 2026-04-01
Default reporting end | 2026-04-30
Meter data rows | 200
Template version | V1.0 通用版
Energy type | Default unit | Default unit price | Carbon factor kgCO2e / unit | Alert deviation % | Severe deviation % | Drop deviation % | Area intensity threshold | Business volume threshold | Low-load / night threshold | Default role | Business scenario | Status | Data source | Time band / shift | Risk level | Root cause category | Energy type list
Electricity | kWh | 0.85 | 0.5703 | 20% | 50% | 30% | 12 | 1.2 | 5 | Electrical / equipment supervisor | All | Open | Automatic meter reading | All day | Normal | Not classified | Electricity
Water | m³ | 4.2 | 0.0003 | 15% | 40% | 30% | 0.08 | 0.02 | 0.5 | Water / property supervisor | Office building / headquarters campus | In progress | Manual reading | Critical peak | 低 | Leakage | Water
Gas | m³ | 3.8 | 2.1622 | 18% | 45% | 30% | 0.3 | 0.06 | 0.2 | Utilities / safety supervisor | Commercial complex / office building | Closed | Bill import | Peak | Medium | Equipment failure | Gas
Heat | GJ | 75 | 93 | 18% | 45% | 30% | 0.2 | 0.04 | 0.1 | HVAC supervisor | Industrial park / factory | Ignored | IoT platform import | Standard | High | Metering / communication anomaly | Heat
Steam | t | 230 | 230 | 18% | 45% | 30% | 0.16 | 0.05 | 0.1 | Utilities supervisor | School / hospital | No action needed | ERP / MES import | Off-peak | Severe | Shift / production fluctuation | Steam
Cooling | GJ | 65 | 45 | 18% | 45% | 30% | 0.25 | 0.04 | 0.1 | HVAC supervisor | Hotel / serviced apartment |  | Tenant report | Day shift |  | Human waste | Cooling
Integrated energy use | kgce | 1 | 2.77 | 20% | 50% | 30% | 10 | 1 | 0 | Energy management owner | Data center / server room |  |  | Night shift |  | Pricing / billing anomaly | Integrated energy use
[11 empty] | Municipal / water supply zone |  |  | 低负荷/夜间 |  | Weather / traffic impact
[11 empty] | Multi-subsidiary group |  |  |  |  | Other

## Instructions_Source
Instructions and Reference Sources
Step | Action | Recommendation
1 | Maintain Base Settings | Update company names, reporting periods, energy unit prices, carbon factors, alert thresholds, business scenarios, and owner roles.
2 | Enter or import Energy Data Input | Daily, hourly, or monthly granularity can be used. Keep the same granularity within one analysis scope. Yellow columns are the main input fields.
3 | Review Anomaly Detection | Prioritize records with Severe or High risk. Filter by energy type, scenario, and area when needed.
4 | Use Closed-loop Actions | Create a work order from the anomaly ID, then maintain the owner, status, root cause, corrective action, and savings amount.
5 | Review Dashboard and Monthly Summary | Use these pages for monthly operations review, cost allocation, energy-saving projects, ESG tracking, and carbon reporting.
Reference sources and basis | URL | Template adoption notes | Notes
User-provided page | http://localhost:2020/zh/excel-templates/facility-management/utility-consumption-anomaly-dashboard/ | Utility consumption anomaly alert topic. The local source page was not reachable from the execution environment, so the workbook was completed by following comparable system patterns. | Confirm against the final user page when available.
Utility monitoring system | https://www.yxhiot.com/article/1208.html | Dashboard, trend charts, daily, monthly and yearly queries, anomaly thresholds, cost control, and multi-scenario use. | Public page
Utility management platform | https://www.szhzzd.com/h-nd-4725.html | Multi-source device integration, real-time monitoring, tenant and category breakdowns, time-of-use analysis, anomaly recognition, cost settlement, and carbon accounting. | Public page
Smart park energy management solution | https://acrel.cn/nxpt/?id=99&type=detail | Custom reports, year-on-year and month-on-month comparison, analysis reports, anomaly alarms, dispatch, closed-loop handling, and carbon management. | Public page
Energy monitoring management platform | https://yuntonglvneng.com/productinfo/30894.html | Category and itemized energy statistics, unit-area and per-person metrics, historical comparison, trend forecasting, and anomaly alarms. | Public page
Energy monitoring system | https://www.xlink.cn/pages/products/ems | Covers electricity, water, gas, heat, and other energy types with category statistics, anomaly alerts, and equipment monitoring. | Public page